## Slide 1: Machine Status
Marc Guetg for MXL & FEL RD

## Slide 2: European XFEL
Three SASE undulators
Serving 7 experimental stations
Cover 300 eV to 30 keV photon energies
Hard X-ray self-seeding in SASE2
Two color operation with variable delay in SASE2/SASE3
Short photon pulses
  < 1 fs demonstrated at SASE2/SASE3 with TW levels at 9 keV
  2-3- fs demonstrated at SASE1
Variable Polarization shown in SASE3

## Slide 3: Table of Content
Operations
  Statistics
  Magnetic Bearings
  NEPAL
  Automatization
Current developments
  Short Pulses
  HXRSS
  Polarization Control
Towards the future
  FALCO
  SASE 4/5

## Slide 4: Availability in the last run
17x SASE
9x HXRSS 6x SASE 1x >20keV 1x 2CPP
15x SASE 2x 2CPP

## Slide 5: Major contributors for down time

## Slide 6: Cold compressor operation: Ceramic ball bearings
  32 bearing failures since 2017
Approach to solving the problem
  Design upgrades
    Different concepts for equal distribution of forces on bearings
    Bearing materials, types and sizes
    Cooling concepts, …
  Different assembly methods
  Establishment of quality management
  Change of manufacturer company
  Tests on warm test stands
  Tests on cold test stands
  AMB motors (active magnetic bearing)
  Preventive maintenance (4000 hrs.)
- Improvement but no solution
- No improvement
- No improvement
- Not realistic (time for prototype development)
- Results not comparable (motors failed “different”)
- Not realistic ( > 3 Mio. EUR invest & > 2 years construction time)
- Not available, in development … for years (at Linde)
- nevertheless 9 bearing failures, no solution
Conclusion
  Design upgrades, different procedures and maintenance concepts did not solve the problem
  AMB motor is needed (established technology)

## Slide 7: Cold compressor operation: AMB bearings
Conversion from ceramic ball bearings to active magnetic bearings (AMB):
LKT AMB motor (prototype) in operation since Dez. 2022 without serious problems
All four CC stages have been exchanged by LKT AMB motors (still prototypes) and successfully commissioned in June/July 2024
  Operating conditions essentially remained the same
  Slight modifications on our automation software were necessary
  All four stages are running without problems in steady state mode, but…

## Slide 8: Cold compressor operation: AMB bearings
Remaining problems with new magnetic bearings (AMB):
At least stage 1 - and most likely also stage 2 - shows problems during stopping procedure
  Compressor wheel has contact to wheel cover (which may cause serious damage)
Next steps – problem solving:
All motors will be disassembled and surveyed in October 2024
Clearance will be measured thoroughly
  Clearance will be corrected in December 2024 if required
Magnet control software for rotor (especially for low frequencies) will be checked and adapted/corrected if required in October 2024
AMP motors are running stable and do not show any problems in steady state mode
Problems during stopping procedure (incl. emergency stops) need to be solved to avoid serious damage
  Problem solving starts in October 2024 and will be finished latest in December 2024

## Slide 9: Schedule 2024
Delivery
  11x 14 GeV
  13x 16.1/16.3 GeV
  4x 11.5 GeV
  1x 10.5 GeV
Setup & Exp. Tunning
  6 Weeks
Facility Development
  6 Weeks

## Slide 10: Schedule 2025
Delivery 16 Weeks
Facility Development
  2.5 Weeks
Steady increase in delivery hours
  Decrease of facility development time
Possible ways to ensure enough FD time
  Explore fixed slots within the “weekly” tuning cycle
  Explore utilization during the summer maintenance period

## Slide 11: Cathode Laser System
770 ps separation
Same RF bucket
Old laser system reaching end-of-life
Novel system laser system shared by multiple facilities
  EuXFEL
  FLASH
  PITZ?
Increased capability
  Temporal shaping
  Multiple charges
  Multiple pulses

## Slide 12: Cathode Laser System
Laser2
  Cathode and Laser heater
Nepal X1 (2024
  Cathode Laser
Nepal X2 (Since this SS)
  Cathode Laser
Allow full control of charge and increased control of longitudinal parameters
  OPAL Program
770 ps separation
Energy
Time
Non-linear scale
Same RF bucket

## Slide 13: APPLE-X undulators re-installed at SASE3 (Variable Polarization)
Reinstallation of APPLE-X afterburners
  Including 4 redesigned absorbers
  Designed to shield decoders from spontaneous radiation
Reduction of measured dose rate by two orders of magnitude
15 mm
⌀6 mm
Lead
shield
Non-
magnetic
tungsten
Beam

## Slide 14: APPLE-X undulators re-installed at SASE3 (Variable Polarization)
Measurement with MARWIN4 robot, carrying a photon and
neutron dose rate meter LB 6419: After the redesign and the installation of 4 absorbers ( ), a reduction of radiation in the afterburner area by a factor of ~100 was achieved.
Achieved circular polarization with all four undulators
  >95% circular polarization
  1.2 mJ at 1 keV
Reproducible results
  Already delivered to users
  High level software exists for operations
Alignment strategy still in the improvement process
1 .. 2 .. 3 .. 4
Apple-X undulators closed
First lasing (25.01.2024 22:00)

## Slide 15: High Repetition Rate HXRSS
HXRSS for very hard x-rays
  Small cross-section and lower spectral density
    High repetition rate increases statistics
  Beam quality along the pulse train of crucial importance
    Stabilization by feedbacks (pilot pulses)
SASE2 regularly delivers hundreds of pulses per train
  Was used for several high impact experiments
    45Sc Nuclear Resonance with a natural linewidth 1.4 feV (12.4 keV)
Resonant X-ray excitation of the nuclear clock isomer 45Sc, Y Shvydo’ko et al, Nature 622, 471-475 (2023)

## Slide 16: Cavity Based XFEL at EuXFEL (XFELO)
First results: three roundtrips:
2nd
4th
6th
CBXFELs promise outstanding radiation characteristics
  Orders of magnitude higher peak spectral flux than SASE
  Higher shot to shot stability than Self-Seeding
  Commissioning of CBXFEL demonstrator at EuXFEL started
    Fixed photon energy at 7keV
    Diamond Bragg reflectors
    KB mirrors with curvature for focusing to be installed as we speak
CBXFEL

## Slide 17: Atto-Second Pulse Generation utilizing Self-Chirping Method
Slide curtesy of Jiawei Yan

## Slide 18: Atto-Second Pulse Generation utilizing Self-Chirping Method
2172 ± 84 𝜇J
174 ± 23 𝜇J
Nominal Performance
Short Pulse Performance
Slide curtesy of Jiawei Yan
This method is not repetition rate limited
This method allows for reliable short pulse production
  Works both for SXR and HXR
Has been delivered to SXR users several times
  Incl. Angular streaking
Ongoing effort to further improve performance
  Wavelength range
  Single Shot fraction

## Slide 19: Possible Extension: SASE4 & SASE5
Possible mid-term upgrade: SASE 4 & SASE 5
  About 100 m per undulator line
  Reserved space for experimental hutches exists
  Allows for continuous photon energy coverage
  Synergies with the high duty cycle upgrade but does not require it
Decremental effects beam transport are studied
  Spontaneous radiation
  Transport through arcs
More effort is required to develop the extended parallel operation of all SASE lines
  Cross talk
  Individual compression
  Spontaneous radiation

## Slide 20: Possible Extension: SASE4 & SASE5
Standard SASE is studied
  Saturation is reachable
  Would allow for very intense soft x-ray machine (200 eV)
Atto-second pulse production
  Current developments would be compatible with this operation
  Though two pulses will be limited (small undulator length)
Coherence control
  Self and external seeding has been studies
  Could be an interesting case for a cavity based system (requires more studies)

## Slide 21: Summary
EuXFEL availability ~95% availability
  Main contributor: ceramic bearings of cold boxes – have been replaced by magnetic ones (no failure since)
  Steady increase of user delivery hours
  The low facility development hours are starting to be hindering progress
Ongoing developments
  Beam shaping (Pulse duration, coherence, polarization)
  Automation
Longterm developments for more beam lines SASE 4&5
Additional Topics (Backup slides)
  High Duty cycle upgrade
  FALCO gun development
  Automatization of the accelerator operation

## Slide 22: Backup Slides

## Slide 23: EuXFEL – High Duty Cycle Upgrade
Current burst pattern
  4.5 MHz internal repetition rate
    Increasable to 9 MHz with minor investments
    Seldomly fully utilized
  RF window is about 600 µs
    The new Gun5 (2025 Q2) increases RF window to 800 µs
  Allows to operate the full energy range
Any further increase of the RF window will require substantial investments
  Refurbishments of cryo modules
  Addition of 4 cryo strings
  Reduces train repetition rate to 1 Hz
  Reduces electron energy
  Keeping flexibility for each beam line will be a challenge
    A second injector would increase individual beam shaping capabilities

## Slide 24
Our gun is limited by arcing events of the singe RF window
  The novel gun utilizes two RF windows
Allows for significant increase of the RF window
Same design as for FLASH to maximize synergies
Gun5

## Slide 25
56° Resonance Temperature
Symmetric Input
Signal from Gun pickup

## Slide 26
Progress of short pulse conditioning (10 µs) during first 2 weeks

## Slide 27: Automation of sequences
Example for a Taskomat sequence
Select sequence on the left
Individual steps are shown on the right
Access to the individual sequence steps
Lua-Script
Modify individual steps

## Slide 28: Taskomat example: RF station failure in the main linac
The finite state machine (FSM) of the relevant RF station typically recovers the operation mode within less than 3 minutes.
If the FSM fails, the RF station in question will be replaced by a spare station if available.
Then the following Taskomat sequences starts (selection of the most important steps)
  Save machine status
  Recover the electron beam energy with the spare station, or distribute the missing gradient to all other stations.
  Adjust the magnet strength to the different beam energy steps in the main linac.
  Allow 1 bunch to the first main dump (distribution section).
  Run the trajectory feedbacks to compensate different coupler kicks from the RF stations.
  Verify transmission to the dump.
  Reload previous bunch pattern (distribution to the individual undulator beamlines).

## Slide 29: Generic optimizer
A selection of matching quadrupoles upstream of an undulator beamline
Pulse intensity during the optimization progress
Variation of the magnet’s strength for optimization
Drag and drop DOOCS properties for actuators and monitors.
Many presets are available for standard tuning.
Optimization routine can be freely programmed and started e.g. for dispersion minimization.

## Slide 30: Generic optimizer
A selection of matching quadrupoles upstream of an undulator beamline
Pulse intensity during the optimization progress
Variation of the magnet’s strength for optimization
Prepared standard optimization setups
Drag and drop DOOCS properties for actuators and monitors.
Many presets are available for standard tuning.
Optimization routine can be freely programmed and started e.g. for dispersion minimization.

## Slide 31: Generic optimizer
Drag and drop DOOCS properties for actuators and monitors.
Many presets are available for standard tuning.
Optimization routine can be freely programmed and started e.g. for dispersion minimization.
A selection of matching quadrupoles upstream of an undulator beamline
Pulse intensity during the optimization progress
Variation of the magnet’s strength for optimization
Prepared standard optimization setups
Dispersion correction in the injector
Script for dispersion measurement, carried out at each optimization step